## Slide 1: Evaluation and Assimilation of GeoHIS in JEDI: Progress and Future Perspective
18th JCSDA Technical Review Meeting and Science Workshop
7-11 June 2021
Wei Han
In collaboration with OBS team and SSEC calibration team
With support of the JEDI/CRTM Core Teams
Acknowledgement: Robert Knuteson (SSEC)
Hank Revercomb(SSEC)
weihan@ucar.edu
GeoHIS: Geostationary Hyperspectral InfraRed Sounders

## Slide 2: Outline
WHY GeoHIS
  HIGH temporal, 3D temperature and moisture (trace gases)
  Targeted Observing for high impact weather
Progress on GIIRS evaluation and assimilation in JEDI
  NEW methods
    ISSEC, A fast and accurate spectral bias estimation algorithm
    OOPS, On Orbit Parameter eStimation using data assimilation methodology
  NEW findings
    Diurnal and seasonal variation
    Possible root cause: sensor parameter estimation based on NWP
What’s NEXT
  Best use of the high temporal Geo. sounder data (4D-Var)
  CRTM refinement and UFO improvement
  Towards assimilation of global ring of Geo. sounders in “active mode” : THORPEX forward
Cal
SSEC
DA
JCSDA
GIIRS project

## Slide 3: WHY GeoHIS: Opportunities and Challenges
Convective scale analysis and forecast
  Fast evolving weather
  Pre-convection monitoring
Targeted observing for HIW in geo. orbit (Han,2019)
  Hurricane
  Convection
  Strong precipitation
Large detector array challenges in geo. orbit
  Calibration (spectral , radiometric)
  Bias correction
  Observation error estimation
Han W. et al, 2019: Assimilation of high temporal resolution GIIRS in 4D-var , 2019 Joint Satellite Conference, Boston, Sept.28-Oct.4,2019.
https://ams.confex.com/ams/JOINTSATMET/videogateway.cgi/id/505317?recordingid=505317

## Slide 4
Targeted Observing
Geo. platform is flexible for selected region
FY4A GIIRS Quick Scan Mode.
Test data 5 minute repeat time near Hong Kong, 1 May 2019.
This animation shows the footprints of the FY4A GIIRS LW focal plane array as it covers the region using “stop and stare” spatial sampling.
The ”stare” dwell time is between 10 and 11 seconds. During this time repeated samples are co-added to reduce noise on the GIIRS spectra.
Each of the 128 LW and 128 MW detectors are measured simultaneously during a dwell period.
Larger arrays will reduce repeat times.
LW Window
Notes: Note that in future GIIRS sensor there will be a larger focal plane array which will allow for more rapid area coverage. The MTG IRS sensor has a much larger focal plane array planned.

## Slide 5: Geo Sounder and Leo Sounder: Hurricane sounding
Geo Sounder: FY-4A GIIRS
Leo Sounder: N20 CrIS
Typhoon Maria (2018)
Notes: https://www.star.nesdis.noaa.gov/icvs/status_N20_CrIS.php

## Slide 6: Impact of GIIRS targeted observing on Typhoon Maria forecasts
Han W. et. al.,Assimilation of high temporal GIIRS radiance in GRAPES,ITSC22, Québec, Canada, 31 October – 6 November 2019

## Slide 7: Global Ring of geo. sounders in global observing system
User driven Target Observing to improve High Impact Weather (HIW)

## Slide 8: Large detector array of FY-4A GIIRS: Uniformity (spectral and radiometric)
North
South
West
East
Detector Array:112kmX648km
FOV: 16km
2 hour（15N-65N ,75E-135E）
FY-3D HIRAS:2X2
32X4
CrIS:3X3
Spectral bias of the off-axis FOV is an important issue
MTG IRS: 160X160
648km×112km

## Slide 9: Questions: WHY the spectral shift estimations are different using GIIRS_IASI and GIIRS_CrIS SNOs? WHY the pattern change over time?
Period: 20200507-200530
GIIRS-IASI
GIIRS-CrIS
Period: 20191107-20191130

## Slide 10: Spectral shift estimation using JEDI and SNOs
CrIS_GIIRS SNOs
IASI_GIIRS SNOs
Using NWP simulation as reference

## Slide 11: CrIS_GIIRS and IASI_GIIRS SNOs : Hour of the day
IASI_GIIRS_SNOs, detector=96
CrIS_GIIRS_SNOs, detector=96
Hour of the Day(UTC)
Lessons learned: consider time of the day!
2020050100-20200510, 10 days sample for all the detectors
Spectral Shift(ppm)
Spectral Shift(ppm)
Number

## Slide 12: Iterative Spectral Shift Estimation and Correction using local quadratic approximation (ISSEC)
Resample calculation: =
Han W. et. al., ISSEC: An fast and accurate algorithm for hyperspectral infrared sounder spectral shift estimation and correction with application on FY-4A GIIRS, to be submitted.

## Slide 13: Spectral diurnal variation estimation using NWP simulation as reference

## Slide 14: Spectral bias diurnal variation (using JEDI UFO) FOV33 and 58
58
33
32x4=128 detectors
What’s the root cause of this diurnal variation?

## Slide 15: Spectral shift relative change (difference to 00z)
{
{
The spectral shifts are predicable and could be corrected.
Local time
08H
02H
14H
20H

## Slide 16: Spectral shift diurnal variation estimated using JEDI
00Z,2020050400
06Z,2020050406
12Z,2020050412
18Z,2020050418 (19-20)

## Slide 17
QUESTIONS:
What’s the root cause of the diurnal variation?
Is there a physical model with limited unknown parameters ?
How to estimate the unknown parameters?
How to do the correction?

## Slide 18: OOPS: On Orbit Parameter eStimation of satellite sensor using data dssimilation methodology
2020050400
Parameters: focal center (Xc,Yc), afocal ratio, and others
Model: Optical geometry model and its perturbed model
Observations: Spectral shift estimation using NWP or SNOs
Application of data
assimilation
ideas in calibration

## Slide 19: SOLVE Mysteries: tidy variations of the optical center (5% FOV,6um)
08
14
20
05
Local Time

## Slide 20: Long term spectral variation
Detector=1
Detector=16
Detector=32
CrIS and GIIRS SNOs
IASI and GIIRS SNOs

## Slide 21: GIIRS spectral longer term variation
Estimated using IASI_GIIRS SNOs
Estimated using CrIS_GIIRS SNOs

## Slide 22: Spectral shift estimation using GIIRS and IASI SNOs

## Slide 23: Spectral shift estimation using GIIRS and CrIS SNOs

## Slide 24: Estimaiton of focal center and afocal ratio variation using GIIRS-IASI and GIIRS-CrIS SNOs
nvc0 = 14.438
nhc0 = 2.134

## Slide 25: Suggestions for NWP user community on FY-4A GIIRS QC
Reference focal center
nvc0 = 14.438
nhc0 = 2.134
Suggestion on the use of current FY-4A GIIRS L1 (V3):
Best detectors: 14,47,48,79,112
Detector selection: 3-25,36-57,67-89,102-123
Time selection: 00Z-09Z

## Slide 26: GIIRS O-B on 06Z, May 17 2020 (Super Cyclonic Storm Amphan)
Added value of geostationary high-temporal, high-spectral
vertical sounding to improve NWP initial condition

## Slide 27: Winds FY-4A GIIRS humidity sounding(15min )
Retrieve wind information using 4D-Var
Retrieve winds using traditional AMV methods
Retrieve winds using AI techniques
There are 961 channels in water vapor band
3D winds information
through 4D-Var or
retrieval
water vapor “tracer effects”

## Slide 28: Assimilation of GIIRS 4D Winds
Han W., Yin R.,Di D.,Ma Z., Li J. and Knuteson R.,2021:Assimilation of four-dimensional winds from high temporal geostationary hyperspectral infrared sounder radiances, EUMETSAT 2021 conference (submitted).
Li J., Ma Z., Han W., Di D., Li Z., Yin R., Menzel P., and Schmit T., 2021: Four-dimensional wind field from geostationary hyperspectral infrared sounder radiances with high temporal resolution – Typhoon Maria case , EUMETSAT 2021 conference (submitted).

## Slide 29: Summary
Close collaboration between data assimilation and calibration
  Satellite data monitoring
  Understand well , use well (uncertainty information is also important)
NEW methods
  ISSEC, A fast and accurate spectral bias estimation algorithm
  OOPS, On orbit parameter estimation using data assimilation methodology
NEW findings
  Diurnal and seasonal variation
  Possible root cause: sensor parameter estimation based on NWP
  The spectral accuracy and stability could be improved
Impact study in JEDI with refined GIIRS L1 data
  4D-Var
  4DENVAR

## Slide 30: References
Han W.,et al:Assessment and Integration of the Geostationary Hyperspectral Infrared Sounder(GIIRS) in JEDI,2021 AMS
Han W.,et al: Assimilation of Geostationary Hyperspectral Infrared Sounders: Challenges and Opportunities ,2021AMS
Han W., Assessment of Geostationary Hyper-spectral Sounders in JEDI,7th WMO workshop on the Impact of Various Observing System in NWP, Nov-Dec 2020
Han W. and N. Bormann, 2020: Constrained Variational Bias Correction, ECMWF/EUMETSAT NWP SAF Workshop on the treatment of random and systematic errors in satellite data assimilation for NWP, November 2-5,2020, ECMWF, https://events.ecmwf.int/event/170/contributions/1530/
Han W., Yin R., Wang H.,Wang J., and Shen X., 2019: Assimilation of high temporal GIIRS radiance in GRAPES, ITSC22, Québec, Canada ,31 October – 6 November 2019.
Han W. et al, 2019: Assimilation of high temporal resolution GIIRS in 4D-Var, 2019 Joint Satellite Conference, Boston, Sept.28-Oct.4,2019. https://ams.confex.com/ams/JOINTSATMET/videogateway.cgi/id/505317?recordingid=505317
Han W. et al, 2019: Target observing experiments using high temporal geostationary sounder : Typhoon Ambil case, the 99th AMS Annual Meeting, Phoenix, Arizona, 6-10 January 2019.
Han W. and N. Bormann, 2016: Constrained adaptive bias correction for satellite radiances assimilation in the ECMWF 4D-Var, ECMWF Technical Memorandum, 783. https://doi.org/10.21957/rex0omex

## Slide 31: What do you find ?
amsua_n19
2020110112
ECMWF
HoFx, BC and QC
ObsNum_GSI(UFO-GSI)
AMSUA-NOAA19
O2R
R2O
Possible over bias corrected
For channels 1 and 2
Notes: https://www.ecmwf.int/en/forecasts/charts/obstat/atovs_amsua__rmsplot_0001_plot_o_rmsplot_atovs_amsua?facets=Parameter,Radiances%3BData%20type,Microwave%20radiances&time=2021011800&Satellite=NOAA-19

## Slide 32: Radiometric Uncertainty
Meteosat-10/SEVIRI IR
2013-03-01/2017-03-01
Himawari-8/AHI IR
2015-07-01/2017-06-30
Tim Hewison,ITSC21
GSICS
Tobin et al ,2013
upper bounds of
observation uncertainty
STAR
ICVS ,ATMS-GPS
GPS RO as reference
Calibration update
Notes: https://www.star.nesdis.noaa.gov/icvs/status_NPP_ATMS.php

## Slide 33: Methodology: Constrained Variational Bias Correction (CvarBC)
Han,2014,ITSC19; Han and Bormann,2016; Han,2020
Constrain the total size of
bias correction to each channel using radiometric uncertainty estimation
(Weak Constraint)

## Slide 34: CVarBC (since 5 June 2018, IFS CY45R1)
https://confluence.ecmwf.int/display/FCST/Implementation+of+IFS+cycle+45r1
From Andy Brown,2018